## Slide 1
REHABILITATION OF LINCOLN MEMORIAL
Section 106 Consulting Parties Meeting
21 February 2018

## Slide 2
AGENDA
PRESENTATION
WELCOME + INTRODUCTIONS
IDENTIFY HISTORIC RESOURCES
ALTERNATIVES
ASSESSMENT OF EFFECTS
DISCUSSION ON MITIGATION
NEXT STEPS

## Slide 3
PROJECT AREA
CONSTITUTION GARDENS, THE NATIONAL MALL, WASHINGTON D.C
LINCOLN MEMORIAL, WASHINGTON D.C

## Slide 4
PURPOSE + NEED
The purpose of this project is to expand overall interpretive and educational visitor experience at the Lincoln Memorial. Its needed because of current configuration of visitor services and park support facilities are insufficient.

## Slide 5
CURRENT CONDITIONS
Chamber bookstore too small
Restrooms outdated and require repairs
Only one elevator to the chamber and its unreliable
Egress to restrooms/exhibit space not current with life safety codes

## Slide 6
HISTORICAL OVERVIEW
LINCOLN MEMORIAL
Memorial designed by Henry Bacon and sculpture created by Daniel Chester French;
Dedicated in 1922 in the style of an ancient Greek temple;
Located on a site identified by the McMillian Commission in its 1901-1902 plan for Washington;
Prominent setting for events such as Marian Anderson’s Easter Sunday concert (1939) and MLK’s “ I Have a Dream” speech (1963).

## Slide 7
HISTORICAL OVERVIEW
Set on a raised

## Slide 8
HISTORICAL OVERVIEW

## Slide 9
SEC. 106 UPDATE
SECTION 106 PROCESS
NEPA PROCESS
Initiate NEPA Process
Initiate Section
106
Public Scoping Meeting
Section 106 Public Meeting
Determine Environmental Consequences
Prepare
EA for Public Review
Public Scoping Meeting 6.27.17; EA released for comment (2/5-3/7);
SHPO and Tribal Section 106 Consultation Initiated on 3.17.17 and 2.15.18
Public Review & Comments on Draft EA
NEPA Decision Document
MOA, if needed
DOE
or
Prepare
MOA
Identify Adverse Effects
Analyze Altern.
Avoid, Minimize Adverse Effects
Identify Mitigation
106 Input on Proposal

## Slide 10
DRAFT AREA OF POTENTIAL EFFECT (APE)
1
1
LINCOLN MEMORIAL
Cultural Resources in APE
PROJECT AREA
EAST AND WEST POTOMAC PARKS AND
NATIONAL MALL NATIONAL REGISTER
HISTORIC DISTRICTS
2
2
LINCOLN MEMORIAL GROUNDS
AREA OF POTENTIAL EFFECT (APE)

## Slide 11
CONTRIBUTING FEATURES
Based on the findings of the Historic Structures Assessment report (2016):
Memorial exterior (including stylobate, colonnade, entablature, exterior decorations);
Memorial interior (including statuary chamber and rooms,
Chamber roof and skylight chamber;
Approachway and terrace;
Bronze doors in raised terrace retaining wall;
Lower and upper steps;
North and south tripods;
Raised terrace;
Undercroft (beneath statuary Chamber)
Lincoln Memorial, following completion of reflecting pool , May 1923 (LOC)

## Slide 12
NON-CONTRIBUTING FEATURES
Based on the findings of the Historic Structures Assessment report (2016):
Upper and lower roof materials
North and south walkways and north and south plazas;
Undercroft (beneath approachway and raised Terrace).

## Slide 13
ALTERNATIVES
ALTERNATIVE A- NO ACTION
ALTERNATIVE B-PROPOSED ACTION
ALTERNATIVE C- IMPROVE EXISTING

## Slide 14
No changes in egress; single 36” door connects to exhibit level
No changes in the existing interpretive area and restrooms
No views of the undercroft
Single outdated elevator remains
Retain existing retail area, USPP office, staff breakroom, single elevator lobby, and janitor’s closet
NO ACTION
ALT. A

## Slide 15
No changes in egress; single 36” door connects to exhibit level
No changes in the existing interpretive area and restrooms
No views of the undercroft
Single outdated elevator remains
Retain existing retail area, USPP office, staff breakroom, single elevator lobby, and janitor’s closet
NO ACTION
ALT. A

## Slide 16
Improved egress from exhibit level; south and north doors enlarged to 72” (both connect to exhibit level)
Exhibit level expanded for interpretive space, additional restrooms, new retail area
Curtain wall provides views of the undercroft
South elevator renovated and updated, new elevator added in the north
PROPOSED ACTION
ALT. B

## Slide 17
Improved egress from exhibit level; south and north doors enlarged to 72” (both connect to exhibit level)
Exhibit level expanded for interpretive space, additional restrooms, new retail area
Curtain wall provides views of the undercroft
South elevator renovated and updated, new elevator added in the north
PROPOSED ACTION
ALT. B

## Slide 18
Improved egress from exhibit level; south and north doors enlarged to 72” (both connect to exhibit level)
Exhibit level expanded for interpretive space, additional restrooms, new retail area
Curtain wall provides views of the undercroft
South elevator renovated and updated, new elevator added in the north
PROPOSED ACTION
ALT. B

## Slide 19
Improved egress from exhibit level; south and north doors enlarged to 72” (both connect to exhibit level)
Exhibit level expanded for interpretive space, additional restrooms, new retail area
Curtain wall provides views of the undercroft
South elevator renovated and updated, new elevator added in the north
PROPOSED ACTION
ALT. B

## Slide 20
Slightly improved egress from exhibit level; north doors widened by 5” and connected to public space on exhibit level for 2nd egress point
Modest changes in the existing interpretive area and additional restrooms
Picture window into the undercroft
Retail space remains as is, no second elevator
IMPROVE EXISTING
ALT. C

## Slide 21
Slightly improved egress from exhibit level; north doors widened by 5” and connected to public space on exhibit level for 2nd egress point
Modest changes in the existing interpretive area and additional restrooms
Picture window into the undercroft
Retail space remains as is, no second elevator
IMPROVE EXISTING
ALT. C

## Slide 22
Slightly improved egress from exhibit level; north doors widened by 5” and connected to public space on exhibit level for 2nd egress point
Modest changes in the existing interpretive area and additional restrooms
Picture window into the undercroft
Retail space remains as is, no second elevator
IMPROVE EXISTING
ALT. C

## Slide 23
COMPARISONS

## Slide 24
COMPARISONS

## Slide 25
ALT. A
BRONZE DOORS, EAST ELEVATION

## Slide 26
ALT. B
BRONZE DOORS, EAST ELEVATION

## Slide 27
ALT. C
BRONZE DOORS, EAST ELEVATION

## Slide 28
Adverse effect on Memorial Exterior
The doors on the east façade of the Lincoln Memorial would be replaced with larger doors of a sympathetic design.
A change in appearance of the main façade would occur and a loss of historic masonry would be required for the new doors
EFFECTS-ALT B. (Preferred)
Adverse effect on Memorial Interior
Removal of historic material on the chamber level for new elevator and improved mechanical systems. This loss of material would be in areas not visible to the public.
Removal and replacement of historic material would be required on the exhibit level for new structural elements. The expanded exhibit level would result in a change in appearance of the undercroft and the introduction of modern materials.
Some historic character of the undercroft would be diminished with these changes. However, most of the changes would be concentrated within the non-character-defining raised terrace area.

## Slide 29
ALT B: 72’ OPENING (2x36”) DEMO PLAN, EAST ELEVATION
EFFECTS-ALT B. (Preferred)

## Slide 30
72’ OPENING (2x36”) PHOTO SIMULATION, EAST ELEVATION
EFFECTS-ALT B. (Preferred)

## Slide 31
72’ OPENING (2x36”) SIMULATION CLOSED, EAST ELEVATION
EFFECTS-ALT B. (Preferred)

## Slide 32
72’ OPENING (2x36”) SIMULATION OPENED, EAST ELEVATION
EFFECTS-ALT B. (Preferred)

## Slide 33
72’ OPENING (2x36”) SIMULATION OPENED, EAST ELEVATION
EFFECTS-ALT B. (Preferred)

## Slide 34
72’ OPENING (2x36”) SIMULATION OPENED, EAST ELEVATION
EFFECTS-ALT B. (Preferred)

## Slide 35
MITIGATION OPTIONS
POTENTIALLY ADD REMOVED STONE & BRONZE DOOR TO MUSEUM COLLECTION
UPDATE HABS DOCUMENTATION
PREPARTION OF INTERPRETATIVE MATERIALS ON MEMORIAL DEVELOPMENT
CONSERVE AND PROTECT HISTORIC GRAFFITI
COMPLETE CONDITION ASSESSMENT OF GUERIN MURALS
HISTORIC STRUCTURE/LANDSCAPE PRESERVATION MAINTENANCE PLAN

## Slide 36
OPPORTUNITIES TO
COMMENT
Please submit comments at:
www.parkplanning.nps.gov/LincolnMemorialRehab
or mail to:
ATTN: Lincoln Memorial Rehabilitation
Superintendent, National Mall and Memorial Parks
900 Ohio Drive, SW Washington, DC 20024