##### National Park Service

U.S. Department of the Interior

Glacier National Park

Montana

Finding of No Significant Impact

Belly River Utility Improvements

June 12, 2006

FINDING OF NO SIGNIFICANT IMPACT

BELLY RIVER UTILITY IMPROVEMENTS

GLACIER NATIONAL PARK

WEST GLACIER, MONTANA

The purpose of this project is to address the inefficient, inadequate, and unsafe utility systems at the Belly River Ranger Station Historic District. This Ranger Station has served backcountry trail crews and backcountry rangers, resource personnel, and other Park, or research, personnel in the Belly River area since 1910. The proposed action would upgrade the water, wastewater, and propane systems in the district. Proposed changes are intended to protect resources and improve conditions for employees using the site during administrative duties. The objectives are to replace failing water and sewage systems, reduce on-going maintenance and operation costs, and prevent pollution caused by the sewage system.

PREFERRED ALTERNATIVE

Improvements will be made to the water, sewage, and propane systems at the Belly River Ranger Station Historic District. For the water system, all of the existing galvanized water lines will be replaced and a new intake system will be installed. The water line will generally follow the existing water line route, grade, and depth under existing foot trails. The trench will be approximately 2 ft. x 2 ft. and approximately 1200 feet long. Sewage system improvements will connect three buildings into a single septic tank system and leach field. Approximately 480 feet of 2 ft. x 2 ft. trenches will be dug. For the propane system, a central tank farm with an underground distribution system to the buildings will be constructed. Approximately 40 feet of new buried propane line will be required. The remainder of the propane lines will be installed in trenches dug for the water lines. Most of the digging for the project will be done using a mini-excavator, and the remainder will occur using hand tools. The excavator will be flown into the backcountry site and used for 4-6 weeks. Hand-held power tools, powered by a generator, will need to be used for constructing the new sewage tanks and for some pipe fitting, but this will be for very short periods of time. All of the work will occur during the summer (June-September) of 2006 between the hours of 8 a.m. and 5 p.m. Some items that will be flown in, most notably an excavator are too large to be packed in with stock. A maximum of six helicopter flights to the site will be needed to deliver the materials required for the improvements. Flights will occur according to conditions agreed to in the 2003 Programmatic Biological Assessment that were concurred with by the US Fish and Wildlife Service on June 10. 2003.

# OTHER ALTERNATIVES CONSIDERED

A No Action Alternative was considered as required by the National Environmental Policy Act of 1969 (NEPA). Under this alternative, the utility improvements at the Belly River Ranger Station would not be implemented. The water system would continue to erode and require intermittent maintenance. The sewage system would continue to release gray water and organic material on to the surface. Individual propane bottles would continue to be transported and connected within each building.

Several additional utility improvements were originally proposed for the Belly River Historic District and presented to the park’s Management Team. Some improvements were not approved because they were deemed unnecessary or incompatible with the Historic District and its location within recommended wilderness. Suggestions that were dismissed included: installing a micro-hydroturbine generator, installing a yard hydrant off the main water line, and replacing the existing Trail Crew Bunk House with a new log building that would contain a new kitchen and flush bathroom. Transporting all needed materials to the site using pack animals was also considered but rejected because it would take approximately 400 mule trips to haul the required materials and equipment to the site. In addition, some materials needed to properly improve the utilities (i.e. septic and drying tanks) are too large to transport by pack animal. Conducting all digging using hand tools was also considered. However, because of the hardness of the soil, it would take a crew of six people, which is the maximum number of people the park can budget for this project, approximately 25 weeks to conduct all of the required trenching using hand tools. This length of time would not allow the work to be completed in a single summer extending the time utility services are interrupted at the site.

ENVIRONMENTALLY PREFERRED ALTERNATIVE

The environmentally preferred alternative is determined by applying the criteria suggested in the National Environmental Policy Act, which is guided by the Council of Environmental Quality (CEQ). The CEQ provides direction that the “environmentally preferable alternative is the alternative that will promote the national environmental policy as expressed in NEPA Section 101”:

- fulfill the responsibilities of each generation as trustee of the environment for succeeding generations;

- assure for all generations safe, healthful, productive, and esthetically and culturally pleasing surroundings;

- attain the widest range of beneficial uses of the environment without degradation, risk of health or safety, or other undesirable and unintended consequences;

- preserve important historic, cultural and natural aspects of our national heritage and maintain, wherever possible, an environment that supports diversity and variety of individual choice;

- achieve a balance between population and resource use that will permit high standards of living and a wide sharing of life’s amenities; and

- enhance the quality of renewable resources and approach the maximum attainable recycling of depletable resources.

The Preferred Alternative fulfills all six criteria. It accomplishes criteria 1, 2, 3, and 6 by eliminating sewage in the form of gray water pollution, or the threat of pollution, into the soils, groundwater, and stream. Criteria 2 and 4 are fulfilled by providing long-term maintenance solutions and by protecting the integrity of the historic district. The proposed improvements to the district will provide safer and more livable conditions for employees and volunteers stationed at the site, thus fulfilling criteria 5. The No Action Alternative does not fulfill any of the criteria because it allows for the continued release of sewage in the form of gray water into the environment, continues persistently unsafe conditions for inhabitants, and allows for the continued deterioration of a historic site. Therefore, the Preferred Alternative is the environmentally preferred alternative.

WHY THE PREFERRED ALTERNATIVE WILL NOT HAVE A SIGNIFICANT EFFECT ON THE HUMAN ENVIRONMENT

As defined in 40 CFR Section 1508.27, significance is determined by examining the following criteria:

Impacts that may be both beneficial and adverse.

The utility improvements to the Historic District from the Preferred Alternative will be minor, long-term, site-specific, and beneficial by ensuring the continued integrity of the site. The impacts to archeological resources will be long-term, site-specific, negligible, and adverse considering the results of a 2005 cultural resource survey and test excavations that documented a low likelihood of disturbing artifacts in the area. The overall impact to soils will be minor to moderate, long-term, localized, adverse and beneficial because the improvements to the sewage system will keep untreated sewage in the form of gray water from contaminating soils. The impacts to wildlife from the Preferred Alternative will be short-term, localized, minor, and adverse due to temporary increased noise levels caused by use of a helicopter and an excavator. The impact to Special Status Species will be minor, short-term, localized, beneficial and adverse, due mostly to helicopter flights. Impacts to water quality will result in moderate, long-term, localized, and beneficial impacts by preventing gray water from entering Gable Creek. Impacts to local soundscapes, recommended wilderness, and visitor experience will be moderate, short-term, localized, and adverse from the use of an excavator and helicopter. It was determined that impacts to other resources including vegetation, wetlands, floodplains, prime and unique farmlands, air quality, visual resources, environmental justice, and socioeconomics will be minor or less in degree and were dismissed from analysis in the Environmental Assessment.

Degree of effect on public health or safety.

The impact to health and safety will be moderate, long-term, site-specific, and beneficial due to the containment of sewage in the form of gray water and the consolidation of propane tanks separate from living quarters.

Unique characteristics of the geographic area such as proximity to historic or cultural resources, park lands, prime farmlands, wetland, wild and scenic rivers, or ecologically critical areas.

The improvements will occur within the Belly River Ranger Station Historic District which was listed in the National Register of Historic Places in 1986. The Belly River Ranger Station is unique in that it is the only station not accessible by established road; it is only accessible by horseback or hiking and still has relatively few modern conveniences. Of all of the East Side ranger stations, only the Belly River Ranger Station maintains the traditional configuration of buildings (station/residence, barn, woodshed, and fire cache), with few intrusions and with excellent physical integrity. The project will not occur within a designated Wild and Scenic river corridor, and no prime farmlands, wetlands, or ecologically critical areas are in the vicinity of the site.

Degree to which effects on the quality of the human environment are likely to be highly controversial.

Only three responses were received during scoping for the project and 3 responses were received during the public review period for the environmental assessment. One was from the SHPO who concurred with the finding of no adverse effect. One was from an individual who supported the preferred alternative and the other was from an individual asking for information about other helicopter administrative flights planned for this year and whether we are monitoring the cumulative effects of these. An errata sheet is attached modifying the EA. Based on public comments, the project will not be controversial.

Degree to which effects on the quality of the human environment is highly uncertain or involves unique or unknown risks.

These improvements are relatively common for older structures in the park and no unknown or unique risks will occur as a result of the project.

Degree to which the action may establish a precedent for future actions with significant effects or represents a decision in principle about a future consideration.

The use of an excavator and helicopter to complete the project were decisions made specifically for this project because of the hardness of the soils at the site, the type of equipment needed, and the amount of material needed for the project. The park used the Minimum Tool Analysis to analyze the impacts and will continue to use it to evaluate proposed projects within recommended wilderness and the tools proposed to accomplish projects.

Whether the action is related to other actions with individually insignificant but cumulatively significant impacts.

Other projects that have occurred or that could occur in the vicinity of Belly River include:

- Maintenance and rehabilitation improvements to buildings at Belly River Ranger Station Historic District, and four administrative flights to deliver materials (mostly completed in 2005).

- Replace tent platforms at Belly River Ranger Station with new platforms (summer 2006).

- Other administrative flights conducted annually in the park (ongoing, see Errata sheet).

- Routine trail and building use and maintenance (ongoing).

In conjunction with rehabilitation work conducted in 2004 and 2005, the utility improvements will result in the third consecutive summer of construction at the site. The result will be moderate adverse temporary impacts on soundscapes in the area that could impact returning visitors and local wildlife; but the soundscapes will return to normal after construction and impacts are not significant. The building rehabilitation work and ongoing maintenance in conjunction with the utility improvements will ensure the preservation of the Historic District for future years. Constructing new tent platforms is expected to take no more than two days and will not result in any cumulative impacts in conjunction with the utility improvement work. Therefore, the utility improvements will not result in a significant cumulative impact.

Degree to which the action may adversely affect districts, sites, highways, structures, or objects listed on the National Register of Historic Places or may cause loss or destruction of significant scientific, cultural, or historical resources.

The Belly River Ranger Station Historic District was listed in the National Register of Historic Places in 1986 for its association with the administrative development of the park and for its rustic architectural design. In accordance with 36 CFR 800.5(b), Glacier National Park has reached a finding of no adverse effect on historic structures and no historic properties (archeological) affected for the undertaking. The utility improvements are expected to help ensure the integrity of the historic site and will not alter the characteristics that qualify the buildings for listing in the National Register of Historic Places.

No ethnographic resources or cultural landscapes have been identified near the Belly River Ranger Station and local tribes will be consulted if new resources were identified during excavation. In our consultation with the Blackfeet Tribal Historic Preservation Officer they had no concerns about the project but asked to be informed when ground excavation began. The State Historic Preservation Officer concurred with the park’s finding that there would be no effect to historic properties as well (letter dated June 8, 2006).

Degree to which the action may adversely affect an endangered or threatened species or its critical habitat.

One federally-endangered species, the gray wolf, and four federally-threatened wildlife species are known to occur within Glacier National Park: bald eagle, grizzly bear, Canada lynx, and bull trout. There is also one candidate species for federal listing known in the park, slender moonwort. No known locations of sensitive plant species, or suitable habitat, are present at the site. The effect to bull trout would be negligible and beneficial by removing a potential source of pollution. Bald eagles would be negligibly affected by helicopter disturbance because there are no nest sites along the flight path, though they could be temporarily displaced from a foraging site along the flight path. Wolves, grizzly bears, and Canada lynx would be adversely affected at a minor level due to helicopter disturbance and construction noise. The benefits of removing the sewage would slightly offset the impacts to these species caused from increased noise. No known grizzly bear or Canada lynx den sites or wolf rendezvous sites are known in the vicinity of the site. The park prepared a Programmatic Biological Assessment for Administrative Flights in Glacier National Park that was submitted to the US Fish and Wildlife Service on 2/18/03. They concurred with a finding of effect, not likely to adversely affect on 6/10/03. These flights will take place under the conditions agreed to with the US Fish and Wildlife Service. Attached to this FONSI is an errata sheet describing changes to the EA which describes the cumulative effects on wildlife from this project combined with other planned park administrative flights for 2006.Section 7 consultation under the Endangered Species Act has been completed. Additionally the US Fish and Wildlife Service were consulted about this project and received no comments.

Whether the action threatens a violation of federal, state, or local environmental protection law.

The project does not threaten a violation of any federal, state, or local environmental protection law.

In addition to reviewing the list of significance criteria, the National Park Services has determined that implementation of the proposal will not constitute an impairment to Glacier National Park’s resources and values. This conclusion is based upon a thorough analysis of the environmental impacts described in the Belly River Utilities Improvements  Environmental Assessment, the public comments received, relevant scientific studies, and the professional judgment of the decision maker, guided by the direction in NPS Management Policies (December 27, 2000). Although the project has some negative impacts, in all cases these adverse impacts are the result of actions taken to preserve and restore other park resources and values. Overall, the plan results in benefits to park resources and values, and opportunities for their enjoyment.

PUBLIC INVOLVEMENT

Public scoping began with letters announcing the project and a press release issued on February 2, 2006. Letters were sent to the park’s mailing list for EAs, which includes various federal, state, and local agencies, such as the State Historic Preservation Officer (SHPO), U.S. Fish and Wildlife Service (USFWS), the Blackfeet Tribal Business Council, and the Confederated Salish and Kootenai Tribes. The announcement was also posted on the National Park Service’s public comment website.

Three replies were received during scoping for this project. Two of the respondents expressed concerns about how the work would be accomplished and whether it was appropriate for the site. A third respondent questioned the status of the water system at the site. Their comments were addressed in the environmental assessment. A meeting was held with the Blackfeet Tribal Preservation Officer and the park’s Cultural Resource Specialist on March 31, 2006 during which they asked to be notified before excavation began so they could be present.

The EA was released for public review period and comment on May 31, 2006. The document was distributed to the park’s mailing list and the EA was made available on the National Park Service’s (NPS) public comment web site. A press release was also issued at this time. Three comments were received during this public review period. The SHPO concurred with the park’s finding of no adverse effect on June 6, 2006. One individual wrote expressing their support for the preferred alternative. The third letter questioned whether the park was monitoring the cumulative effects of this project combined with all other projects requiring helicopter flights. A summary of the planned administrative flights in 2006 is included as part of the errata sheet that modifies information in the EA and assesses the cumulative impact of this project’s flights combined with other planned park administrative flights for 2006. This additional analysis did not change the overall impact level determinations of the project.

The park continues to strive towards a reduction in the number of administrative flights taken each year for projects in the backcountry and rigorously reviews all proposed flights under the National Environmental Policy Act and the Endangered Species Act. It also performs a Minimum Tool Analysis in accordance with the Wilderness Act to determine if helicopters or fixed wing flights are the minimum tool required to perform the work. Normally the park conducts approximately 50 administrative flights each year. They are usually categorically excluded under the National Environmental Protection Act as having negligible or minor environmental impacts. The park also prepared a Programmatic Biological Assessment (BA) for the US Fish and Wildlife Service in 2003. This BA covered 112 administrative flights proposed in 2003 (which an EA was prepared as well) and the approximately 50 administrative flights taken each year. They concurred with the Programmatic BA on June 10, 2003. The BA contains a number of restrictions including time of year and day that administrative flights must take place. It expires in 2007. The flights planned for this project in Belly River are included in the 50 flights normally categorically excluded each year.

A press release will be issued announcing the availability of the FONSI. A copy will be sent to all commenters, and it will be placed on the NPS public web site.

CONCLUSION

The proposal does not constitute an action that normally requires preparation of an environmental impact statement (EIS). The proposal will not have a significant effect on the human environment. There are no unmitigated adverse impacts on public health, public safety, threatened or endangered species. No highly uncertain or controversial impacts, unique or unknown risks, cumulative effects, or elements of precedence were identified. Section 106 consultation in accordance with the National Historic Preservation Act has been completed. (letter dated June 8, 2006) Section 7 of the Endangered Species Act has been completed (consultation on this project and letter dated June 10, 2003). The Blackfeet Tribal Preservation Office will be notified prior to excavation. Implementation of the action will not violate any federal, state, or local environmental protection laws.

The action will not result in major, adverse impacts to a resource or value whose conservation is (1) necessary to fulfill specific purposes identified in the establishing legislation and proclamation of Glacier National Park; (2) key to the natural or cultural integrity of the park; or (3) identified as a goal in the park’s general management plan or other relevant National Park Service planning documents, there will be no impairment of the park’s resources or values.

Based on the foregoing, it has been determined that an EIS is not required for this project and thus will not be prepared.

Recommended:   /s/ Stephanie Dubois for Michael Holm	6-12-06

Michael O. Holm 				Date

Superintendent

Approved:     /s/ Michael Snyder			          	6-12-06

Michael D. Snyder  				Date

Intermountain Regional Director

Attachment: Errata Sheet

# Errata Sheet for Belly River Utility Improvements Environmental Assessment

This errata sheet modifies the EA that was sent out for public review and comment. These changes reflect additional analysis requested by a member of the public that was determined to be appropriate to include in the EA; however this analysis does not change the impact level determinations described.

Affected Environment and Environmental Consequences:

Page 15, Cumulative Impacts

Added to the bulleted list:

- Other park administrative flights planned for 2006 (ongoing, see Table 3).”

Table 3. 2006 projects identified to date which may require use of a helicopter or airplane (Note: Emergency flights for radio repair, search and rescue, and fire are not included and are not put through compliance).

| Project Name | Most # of flights needed using L-3 or A-Star (a smaller helicopter) or fixed wing | Least # of flights needed using a UH1H helicopter (a larger helicopter) or fixed wing |
| --- | --- | --- |
| Granite Park Waste Removal (Sling loads and personnel) | 8 (4 for slingloads and 4 for personnel) | 6 (2 for slingloads and 4 for personnel) |
| Sperry Chalet Waste Removal/Gunsight Pass Hiker Shelter Project/Lower Park Creek Project/Sperry Glacier Monitoring | 12 (6 for slingloads in spring and fall for 06.) | 6 (3 for slingloads in spring and fall of 2006) |
| Belly River Utilities (EA underway) | 6 | 4 |
| Porcupine Lookout | 5 | 4 |
| Scalplock Repeater (possibly combine with Flathead flights) (may be postponed until 2007). | 4 | 4 |
| Agar Lookout | 4 (equipment and personnel) | 3 (equipment and personnel) |
| Wildlife Monitoring (Fixed wing) | 5 | 2 |
| Wolverine Study (funding questionable) | 6 | 0 |
| TOTAL Number of Flights: | Maximum 50 | Minimum 28 |

Additions to Page 23, Wildlife, Cumulative Effects and Page 27, Special Status Species, Cumulative Effects:

With the possible exception of wildlife monitoring flights, no other administrative flights identified in Table 3 would fly over the Belly River Valley. Individuals with large home ranges or that are dispersing from their natal area could encounter administrative flights in other parts of the park but this is unlikely given the small number of flights in any one area. Wildlife monitoring flights would remain above 2000 feet unless a signal was received while radio-tracking an individual animal. The only wildlife monitoring that may occur within the Belly River Valley in 2006 would be for wolves or grizzly bears and would last no more than one day in the fall prior to September 15 in accordance with agreement with the US Fish and Wildlife Service. Finally, the flights for this project are relatively short (approximately five miles one-way) and cross a very small section of the park compared to other flights in the park.

## Page 29, Natural Sounds, Cumulative Effects

With the possible exception of wildlife monitoring flights, no other administrative flights identified in Table 3 would fly over the Belly River Valley. The planned administrative flights are limited in number, dispersed throughout the park and although aircraft noise may travel a far distance, the duration of the noise in any one area is short. The flights for this project are short (approximately five miles one-way) and cross a very small section of the park compared to other planned administrative flights.

### Page 31, Recommended Wilderness, Cumulative Effects

With the possible exception of wildlife monitoring flights, no other administrative flights identified in Table 3 would fly over the Belly River Valley. The planned administrative flights are limited in number, restricted by season and time of day and dispersed throughout the park. Although aircraft noise may travel a far distance, the duration of the noise in any one area is short. Wilderness values would be temporarily impacted by administrative flights but they are conducted to protect those resources which enhance the wilderness experience including wildlife and culturally historic sites. Finally, the flights for this project are short (approximately five miles one-way) and cross a very small section of the park compared to other flights in the park.

### Page 32, Visitor Experience, Cumulative Effects

With the possible exception of wildlife monitoring flights, no other administrative flights identified in Table 3 would fly over the Belly River Valley. The planned administrative flights are limited in number, dispersed throughout the park and although aircraft noise may travel a far distance, the duration of the noise in any one area is short. Visitor experience would be temporarily impacted by administrative flights but they are conducted to protect those resources which enhance the visitor experience including wildlife and culturally historic sites. The flights for this project are short (approximately five miles one-way) and cross a very small section of the park compared to other flights in the park.